## Leht2
Enterobacteriaceae (includes all Enterobacterales)
MIC determination (broth microdilution according to ISO standard 20776-1 except for mecillinam and fosfomycin where agar dilution is used) Medium: Mueller-Hinton broth Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Escherichia coli ATCC 25922. For agents not covered by this strain and for control of the inhibitor component of beta-lactam inhibitor combinations, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le va metitsillinaam ja fosfomütsiin kus kasutatakse agar-lahjendus meetodit) Sööde: Mueller-Hinton puljong Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Escherichia coli ATCC 25922. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Pseudomonas spp.
MIC determination (broth microdilution according to ISO standard 20776-1 except for fosfomycin where agar dilution is used) Medium: Mueller-Hinton broth Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Pseudomonas aeruginosaATCC 27853. For agents not covered by this strain and for control of the inhibitor component of beta-lactam inhibitor combinations, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le va metitsillinaam ja fosfomütsiin kus kasutatakse agar-lahjendus meetodit) Sööde: Mueller-Hinton puljong Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Pseudomonas aeruginosa ATCC 27853. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Stenotrophomonas maltophilia
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: For thrimethoprim-sulfamethoxazole, the MIC should be read at the lowest concentration that inhibits approximately 80% of growth as compared with the growth control well. Quality control: Escherichia coli ATCC 25922 | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: TMP-SMX MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, mis inhibeerib kasvu 80% ulatuses võrrelduna kasvuga kontroll-süvendis. Kvaliteedikontroll: Escherichia coli ATCC 25922.
Acinetobacter spp.
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Pseudomonas aeruginosaATCC 27853. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Pseudomonas aeruginosa ATCC 27853. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Staphylococcus spp.
MIC determination (broth microdilution according to ISO standard 20776-1 except for fosfomycin where agar dilution is used) Medium: Mueller-Hinton broth Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Staphylococcus aureus ATCC 29213. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le va fosfomütsiin kus kasutatakse agar-lahjendus meetodit) Sööde: Mueller-Hinton puljong Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Staphylococcus aureus ATCC 29213. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Enterococcus spp.
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Enterococcus faecalis ATCC 29212. For agents not covered by this strain and for control of the inhibitor component of beta-lactam inhibitor combinations, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Enterococcus faecalis ATCC 29212. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Streptococcus groups A, B, C and G
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Streptococcus pneumoniae ATCC 49619. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Streptococcus pneumoniae ATCC 49619. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Streptococcus pneumoniae
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Streptococcus pneumoniae ATCC 49619. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Streptococcus pneumoniae ATCC 49619. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Viridans group streptococci
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Streptococcus pneumoniae ATCC 49619. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Streptococcus pneumoniae ATCC 49619. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Haemophilus influenzae
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Haemophilus influenzae ATCC 49766. For agents not covered by this strain and for control of the inhibitor component of beta-lactam inhibitor combinations, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Haemophilus influenzae ATCC 49766. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Moraxella catarrhalis
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Haemophilus influenzae ATCC 49766. For agents not covered by this strain and for control of the inhibitor component of beta-lactam inhibitor combinations, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Haemophilus influenzae ATCC 49766. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Listeria monocytogenes
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Streptococcus pneumoniae ATCC 49619. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Streptococcus pneumoniae ATCC 49619. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Pasteurella multocida
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Haemophilus influenzae ATCC 49766. For agents not covered by this strain and for control of the inhibitor component of beta-lactam inhibitor combinations, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Haemophilus influenzae ATCC 49766. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Campylobacter jejuni and coli
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Microaerobic environment, 41±1ºC, 24h. Isolates with insufficient growth after 24h incubation are reincubated immediately and inhibition zones read after a total of 40-48h incubation. Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Staphylococcus aureus ATCC 29213 (standard conditions for staphylococci) | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: mikroaeroobne keskkond, 41±1ºC, 24h. Ebapiisiva kasvuga isolaate kasvatatakse edasi ja loetakse 40-48h pärast. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Staphylococcus aureus ATCC 29213 (stafülokokkide standardtingimused)
Corynebacterium spp.
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h. Isolates with insufficient growth after 16-20h incubation are reincubated immediately and inhibition zones read after a total of 40-44h incubation. Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Streptococcus pneumoniae ATCC 49619. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Ebapiisiva kasvuga isolaate kasvatatakse peale 16-20h inkubeerimist edasi ja tulemus loetakse 40-44h pärast. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Streptococcus pneumoniae ATCC 49619. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Aerococcus sanguinicola and urinae
MIC determination (broth microdilution according to ISO standard 20776-1)1 Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h. Isolates with insufficient growth after 16-20h incubation are reincubated immediately and inhibition zones read after a total of 40-44h incubation. Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Streptococcus pneumoniae ATCC 49619. For agents not covered by this strain, see EUCAST QC Tables. 1 For fluoroquinolones, agar dilution may produce clearer endpoints. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Ebapiisiva kasvuga isolaate kasvatatakse peale 16-20h inkubeerimist edasi ja tulemus loetakse 40-44h pärast. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Streptococcus pneumoniae ATCC 49619. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Kingella kingae
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth + 5% lysed horse blood and 20 mg/L β-NAD (MH-F broth) Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h. Isolates with insufficient growth after 16-20h incubation are reincubated immediately and inhibition zones read after a total of 40-44h incubation. Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Haemophilus influenzae ATCC 49766. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong + 5% defibrineeritud hobuseveri ja 20 mg/L β-NAD (MH-F) Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Ebapiisiva kasvuga isolaate kasvatatakse peale 16-20h inkubeerimist edasi ja tulemus loetakse 40-44h pärast. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Haemophilus influenzae ATCC 49766. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.
Aeromonas spp.
MIC determination (broth microdilution according to ISO standard 20776-1) Medium: Mueller-Hinton broth Inoculum: 5x105 CFU/mL Incubation: Sealed panels, air, 35±1ºC, 18±2h Reading: Unless otherwise stated, read MICs at the lowest concentration of the agent that completely inhibits visible growth. Quality control: Pseudomonas aeruginosa ATCC 27853. For agents not covered by this strain, see EUCAST QC Tables. | MIK määramine (puljong-mikrolahjendusmeetod vastavalt ISO standard 20776-1-le) Sööde: Mueller-Hinton puljong Tihedus: 5x105 PMÜ/mL Inkubeerimine: kaetud paneelid, 35±1ºC, 18±2h. Hindamine: MIK väärtuseks lugeda antibiootikumi madalaim kontsentratsioon, millest edasi nähtav kasv puudub. Kvaliteedikontroll: Pseudomonas aeruginosa ATCC 27853. Antibiootikumide jaoks, mida see tüvi ei kata, kasutada EUCAST QC tabeleid.